## Slide 1
Bode Plot, Gain and Phase Margin
Control Systems (22EEG53)
Unit 3: Frequency Domain Analysis
Topic: Bode plot construction; gain margin and phase margin
Prof. Mitesh Astik
Notes: Welcome everyone. Today's topic is Bode plot construction; gain margin and phase margin. It belongs to Unit 3: Frequency Domain Analysis. By the end of this session you will be able to use it in numerical problems. Keep your notebooks ready because we will solve two examples.

## Slide 2: Learning Outcomes
Draw the asymptotic Bode plot of G(jω).
Locate gain and phase crossover frequencies.
Find gain margin and phase margin.
Judge relative stability and estimate ζ.
Linked to CO3
Analyse performance indices of a system in the frequency domain.
Notes: Read the outcomes aloud. They map to CO3 of the syllabus. Tell students that these are examinable and that the two solved examples follow the same pattern. Ask them to tick off each outcome at the end of the lecture.

## Slide 3: Recap: What You Already Know
Frequency response G(jω): magnitude and phase.
Decibel: dB = 20 log₁₀|G|.
Log scale: equal distance = equal ratio.
Factor G(s) into simple terms.
|G1·G2| in dB = |G1| dB + |G2| dB; ∠(G1·G2) = ∠G1 + ∠G2
decade = ×10 in ω; octave = ×2
Notes: Recall that the magnitude in decibels is 20 log ten of the gain. Because logarithms turn products into sums, the Bode plot of a product of factors is the sum of the plots of the individual factors. A decade is a tenfold change in frequency. Minus 20 dB per decade is the same as about minus 6 dB per octave.

## Slide 4: Motivation: How Close to Instability?
Too much gain makes a loop oscillate.
Margins say how much gain or phase is spare.
Margins are read directly from a Bode plot.
No need to compute closed-loop poles.
Gain margin and phase margin = safety factors of a feedback design
Notes: A servo that is stable on the bench may become unstable when the amplifier gain drifts or a time delay appears. The gain margin tells how much the gain can increase and the phase margin tells how much extra phase lag is tolerable. Both can be read from the Bode plot of the open-loop transfer function. A good design has comfortable margins.

## Slide 5: Bode Plot of Standard Factors
Constant K: flat at 20 log K dB.
Integrator 1/s: −20 dB/dec, −90°.
First-order lag: slope changes by −20 at 1/T.
Phase moves −45° at the corner frequency.
Zero factor (1 + sT) mirrors the lag.
Corner frequency ωc = 1/T; |1/(1 + jωT)| = −3 dB at ωc
Notes: Every transfer function can be broken into constants, integrators, first-order lags or leads and quadratic factors. Each factor has a simple asymptotic plot: straight lines with slope changes at the corner frequencies. The phase of a first-order factor changes by 90 degrees, with 45 degrees at the corner. Learn this table, because every Bode problem is built from it.

## Slide 6: Asymptotic and Exact Plot
Asymptotes: two straight lines meeting at ωc.
Exact curve lies below by 3 dB at the corner.
Error is 1 dB at ωc/2 and 2ωc.
Asymptotic plot is enough for design sketches.
Exact: −10 log₁₀(1 + ω²T²); asymptote: 0 dB then −20 dB/dec
Maximum error 3 dB at ω = 1/T
Notes: The asymptotic plot is quick to draw and accurate away from the corner. At the corner the real curve is 3 dB below the intersection of the asymptotes. One octave away the error is about 1 dB. For design work the sketch is usually adequate, and the exact values can be computed when needed.

## Slide 7: Steps to Draw a Bode Plot
Convert G(s) to the time-constant form.
Mark corner frequencies on the log axis.
Start with the low-frequency asymptote.
Change the slope at every corner.
Add the phase of all factors.
Low-frequency asymptote: slope = −20N dB/dec, passes 20 log K at ω = 1 (N integrators)
Notes: Follow the steps in order. First write every factor as one plus j omega T so that the gain K is clean. Then mark the corner frequencies in increasing order and start from the low-frequency line, whose slope is determined by the number of integrators. At each corner the slope changes by 20 dB per decade, down for a pole and up for a zero. Finally sum the phase contributions.

## Slide 8: Gain and Phase Crossover Frequencies
Gain crossover ωgc: |G(jω)| = 1 (0 dB).
Phase crossover ωpc: ∠G(jω) = −180°.
Both are read from the open-loop Bode plot.
Stable closed loop: ωgc < ωpc.
|G(jωgc)| = 1; ∠G(jωpc) = −180°
Example G(s) = 2/[s(s + 1)(s + 2)]: ωgc = 0.749, ωpc = 1.414 rad/s
Notes: The gain crossover frequency is where the magnitude curve crosses the zero dB line. The phase crossover is where the phase curve crosses minus 180 degrees. For a minimum-phase open-loop system the loop is stable if the gain crossover occurs before the phase crossover. On our example ωgc is 0.75 and ωpc is 1.41 rad/s, so the system is stable.

## Slide 9: Gain Margin and Phase Margin
GM: extra gain allowed at ωpc before instability.
PM: extra phase lag allowed at ωgc.
GM > 0 dB and PM > 0° mean a stable loop.
Typical design: GM ≥ 6 dB, PM 30°–60°.
GM = 1/|G(jωpc)| (or −20 log|G(jωpc)| dB); PM = 180° + ∠G(jωgc)
GM dimensionless or dB, PM in degrees
Notes: The gain margin is the factor by which the gain can be raised until the magnitude at the phase crossover reaches one. The phase margin is the additional lag at the gain crossover that would bring the phase to minus 180 degrees. In our example the magnitude at ωpc is one third, so GM is 3 or 9.54 dB. The phase at ωgc is minus 147.4 degrees, so PM is 32.6 degrees.

## Slide 10: Phase Margin and Damping Ratio
Phase margin relates to damping of the closed loop.
Larger PM means smaller overshoot.
Rule of thumb: ζ ≈ PM/100 (PM below about 60°).
PM = 60° corresponds to ζ ≈ 0.6.
PM = tan⁻¹ { 2ζ / √(√(1 + 4ζ⁴) − 2ζ²) } ≈ 100ζ
For a second-order system with G = ωn²/[s(s + 2ζωn)]
Notes: For the standard second-order loop the phase margin is a unique function of ζ. The straight line PM equals 100 ζ is a handy approximation up to about 60 degrees. So a design with 45 degrees of phase margin has a damping ratio near 0.45 and roughly 20 per cent overshoot. This links the frequency-domain margins to time-domain behaviour.

## Slide 11: Solved Example 1: Bode of 10/[s(1+0.1s)]
Draw asymptotic Bode plot; find ωgc, GM and PM for G = 10/[s(1 + 0.1s)].
1. One integrator: slope −20 dB/dec; 20 log 10 = 20 dB at ω = 1.
2. Corner at 1/0.1 = 10 rad/s: slope becomes −40 dB/dec.
3. ωgc: 100 = ω²(1 + 0.01ω²) → ωgc = 7.86 rad/s.
4. ∠G = −90° − tan⁻¹(0.1ω) = −128.2° at ωgc → PM = 51.8°.
5. Phase never reaches −180°: GM = ∞.
Answer: ωgc = 7.86 rad/s, PM = 51.8°, GM = ∞ (always stable)
Notes: Start with the low-frequency asymptote: one integrator gives minus 20 dB per decade, and the line passes through 20 dB at ω equal to one. At the corner frequency of 10 rad/s the slope steepens to minus 40. Solve exactly for the gain crossover or read it from the plot. The phase at that frequency is minus 128 degrees, giving a comfortable phase margin of about 52 degrees.

## Slide 12: Solved Example 2: GM and PM
Open loop G = K/[s(s + 1)(s + 2)] with K = 2. Find ωpc, GM, ωgc, PM, and the K giving marginal stability.
1. Phase = −90° − tan⁻¹ω − tan⁻¹(ω/2) = −180° → ωpc = √2 = 1.414.
2. |G(jωpc)| = K/(√2·√3·√6) = K/6 = 0.333.
3. GM = 6/K = 3 = 9.54 dB.
4. |G| = 1 at ωgc = 0.749; ∠G = −90 − 36.9 − 20.6 = −147.4°.
5. PM = 180 − 147.4 = 32.6°.
6. Marginal stability when GM = 1: K = 6.
Answer: GM = 9.54 dB, PM = 32.6°, stable; marginal at K = 6
Notes: First find the phase crossover by solving for the frequency at which the phase is minus 180 degrees, which gives root two. Evaluate the magnitude there and invert it to get the gain margin. Then find the gain crossover numerically and compute the phase margin. The gain at which GM becomes one is the critical gain K equal to 6; this agrees with Routh's test, which we study in the next unit.

## Slide 13: Common Mistakes and Exam Tips
✕
Common mistakes
Forgetting the sign: PM = 180° + ∠G, not 180° − ∠G.
Reading margins from the closed-loop plot.
Using natural log instead of log₁₀ in dB.
Putting the corner at T instead of 1/T.
Concluding stability from GM alone.
✓
Exam tips
Write G(jω) in time-constant form.
Check both ωgc < ωpc and PM > 0.
Sketch asymptotes first, then correct.
State GM in dB or ratio clearly.
Notes: These are the points where marks are lost most often in Bode plots. Give one quick example for each mistake. Remind students that writing the formula, substitution and the unit earns method marks even if the arithmetic slips. Encourage them to check the answer for reasonableness.

## Slide 14: Summary
Bode: magnitude (dB) and phase against log ω.
Each pole/zero changes slope by ∓20 dB/decade.
ωgc: |G| = 1; ωpc: ∠G = −180°.
GM = 1/|G(jωpc)|; PM = 180° + ∠G(jωgc).
PM ≈ 100ζ gives a quick estimate of damping.
Stable loop: GM > 0 dB and PM > 0° (minimum-phase)
Notes: Recap in one minute. Say each point and ask the class to recall the formula for it. If they remember these ideas, most numerical problems on Bode plots are within reach. Next lecture: Unit 4: stability and the Routh–Hurwitz criterion. Revise the two solved examples tonight.

## Slide 15: Quick Quiz
Q1. A simple integrator 1/s has Bode slope:
(a) +20 (b) −20 (c) −40 (d) 0 dB/dec
Ans: (b)
Q2. The phase margin is measured at:
(a) ωpc (b) ωgc (c) ω = 0 (d) ωn
Ans: (b)
Q3. Gain margin is 1/|G| at the:
(a) gain crossover (b) phase crossover (c) corner (d) peak
Ans: (b)
Q4. |G(jωpc)| = 0.25 gives a GM of:
(a) 2 (b) 4 (c) 0.25 (d) 12 dB only
Ans: (b)
Q5. PM of 45° suggests ζ about:
(a) 0.1 (b) 0.45 (c) 0.9 (d) 1.45
Ans: (b)
Notes: Give about one minute per question and take a show of hands. Discuss why the wrong options are tempting, especially the one that uses a wrong formula. Use the quiz as a quick check on Bode plots before leaving.

## Slide 16: References
1
Benjamin C. Kuo, Automatic Control Systems
7th Ed., PHI, 2007 (Units 3, 4, 5 textbook)
2
P. S. Satyanarayana, Concepts of Control Systems
2nd Ed., Dynaram Publishers, Bangalore, 2001 (reference)
3
K. Ogata, Modern Control Engineering
5th Ed., Pearson Education Asia / PHI, 2009 (reference)
Next lecture: Unit 4: stability and the Routh–Hurwitz criterion
Notes: Point students to the textbooks listed in the syllabus for Bode plots. Ask them to solve at least three textbook problems on this topic before the next class. Thank the class and preview the next lecture.